## Sheet1
Detector	Year	Node	Foundry	Notes	Link	Link2	Link3					Pixel Pitch	Pixel Count	Pixel Power (uW)	In-pixel ADC?	Spectral/Energy	Timing	Spatial	Integration
Medipix2	2002	250			https://doi.org/10.1109/TNS.2002.803788	https://doi.org/10.1109/NSSMIC.2010.5873930					55	65536	8					Hybrid
MM-PAD	2004	250	TSMC	Cornell. Hybrid counting and integrating. OG for X-ray, then EMPAD	https://doi.org/10.1017/S1431927615015664	https://doi.org/10.1117/12.738663	https://doi.org/10.1109/NSSMIC.2004.1466920
FE-I3	2006	250		ATLAS	https://doi.org/10.1016/j.nima.2006.05.032	https://doi.org/10.1109/TNS.2002.801528
MIMOSA-V	2007	600		1Mpix arra, with 17 um pixels. G. Deptuch @ Brookhaven and CNRS-IN2P3	https://doi.org/10.1016/j.ultramic.2007.01.003
Timepix1	2007	250	TSMC	Also 1 of 3 sensors used in EUDET	https://doi.org/10.1016/j.nima.2007.08.079
Mimosa-26	2008	350	AMS	Final chip used in EUDET-JRA1 beam telescope	https://doi.org/10.1016/j.nima.2010.03.043	https://doi.org/10.1109/NSSMIC.2009.5402399
LDRD2	2008	350	AMS	Berkeley. For LHC, but wasn’t used. The for LDRD2-RH EM micro	https://doi.org/10.1109/TNS.2008.2007484
Mimosa-28	2009	350	AMS	For STAR HFT PXE pixel detector, also called ULTIMATE	https://doi.org/10.1088/1748-0221/7/01/C01102
LDRD2-RH	2009	350	AMS	Refereced by KITE, from Berkeley. 20Um pitch.	https://doi.org/10.1016/j.nima.2008.09.029	https://doi.org/10.1016/j.ultramic.2005.03.006	https://doi.org/10.1016/j.nima.2009.07.017
SLIM5	2009	130	ST	SLIM5 Collaboration, 4096 pixels, SuperB silicon vertex tracker, then for EM	https://doi.org/10.1016/j.nima.2009.01.175	https://doi.org/10.1109/TNS.2012.2214400
TEAM1k	2010	350	AMS	Berkeley TEAM. 9.5 um pixels. Later: MeV-ED + 87kHz 4D Camera	https://doi.org/10.1016/j.nima.2010.07.066	https://doi.org/10.1063/1.4977923	https://doi.org/10.1017/S1431927620019753
FE-I4	2010	130		ATLAS IBL. Also 1 of 3 sensors used in EUDET	https://doi.org/10.1016/j.nima.2010.04.101
DSSC	2010			EuXFEL DEPFET detector	https://doi.org/10.1088/1748-0221/12/03/C03025	https://doi.org/10.1016/j.nima.2010.02.254	https://doi.org/10.1016/j.nima.2010.03.123
AGIPD	2010	130	IBM	DESY XFEL, not full duty cycle, for X-ray imaging	https://doi.org/10.1016/j.nima.2010.06.107
BelleII DEPFET	2011	180	UMC	Belle II DEPFET + DCD + DHP	https://doi.org/10.1088/1748-0221/6/01/C01085	https://doi.org/10.1109/TNS.2010.2040487
Medipix3	2011	130	IBM		https://doi.org/10.1016/j.nima.2010.06.108	https://doi.org/10.1016/j.radmeas.2020.106271
PILATUS3	2012			DECTRIS w/ instant retrigger / non-paralyzable counting	https://doi.org/10.1109/NSSMIC.2012.6551180
TEAM 3rd gen	2012	65	TSMC	Berkeley TEAM, Just a smaller prototype, with 2.5 um pitch.	https://doi.org/10.1109/NSSMIC.2012.6551471
Timepix3	2013	130	IBM		https://doi.org/10.1088/1748-0221/9/05/C05013
TDCpix	2013	130	IBM	NA62 Gigatracker, Referenced in TP4 fund limits, docs 10 years later.	https://doi.org/10.1016/j.nima.2023.168331	https://doi.org/10.1016/j.phpro.2012.04.106	https://doi.org/10.1109/NSSMIC.2013.6829432
CSPAD-140k	2013			LCLS, after completion, ePix development begins	https://doi.org/10.1016/j.nima.2013.01.057
ePix100	2014	250	TSMC	Low noise ePix	https://doi.org/10.1088/1742-6596/493/1/012012
ePix10k	2014	250	TSMC	High DR ePix	https://doi.org/10.1088/1742-6596/493/1/012012	https://doi.org/10.1109/NSSMIC.2014.7431049	https://doi.org/10.1063/1.5084693
ALPIDE	2015	180	TowerJazz	For ALICE inner tracker	https://doi.org/10.1016/j.nima.2015.09.057	https://doi.org/10.1016/j.nima.2016.05.016
JUNGFRAU	2016	110	UMC	SwissFEL, 256x256, 75um pitch,	https://doi.org/10.1088/1748-0221/11/02/C02047	https://doi.org/10.1088/1748-0221/9/12/P12013	https://doi.org/10.1088/1748-0221/9/05/C05010
tPix	2016	130	TSMC	SLAC LSCS, Referenced in TP4 fund limits paper	https://doi.org/10.1109/NSSMIC.2016.8069725
LPD	2017	130	GF	STFC RAL for EuXFEL	https://doi.org/10.1088/1748-0221/12/12/P12003
MuPix	2017			Mu3e experiement, Peric	https://doi.org/10.1016/j.nima.2016.06.095
LFMonoPix1	2017	130	Lfoundry	50x250um pitch	https://doi.org/10.1088/1748-0221/14/06/C06006	https://doi.org/10.1016/j.nima.2018.09.100					110	4644
TJMonoPix1	2018	180	TowerJazz	FE from ALPIDE. similar to MALTA, but different RO	https://doi.org/10.1088/1748-0221/14/06/C06006	https://doi.org/10.1016/j.nima.2018.09.100					40	100352
MALTA	2018	180	TowerJazz	Targeted at HL-LHC upgrade	https://doi.org/10.1016/j.nima.2019.162404	https://doi.org/10.1088/1748-0221/15/03/C03019	https://doi.org/10.1088/1748-0221/18/03/C03011
IBEX	2018	110	UMC	For photon and electron counting, precursor to KITE
FLORA	2019			SLAC LCLS-II hybridized MAPS. References Percival as competitor	https://doi.org/10.1016/j.nima.2019.03.091
Percival 2M	2019			Initally reported 2014, finally in 2019. Monolithic soft X-ray for EuXFEL	https://doi.org/10.1088/1748-0221/14/01/C01006	https://doi.org/10.1088/1748-0221/9/03/C03056
Timepix4	2019	65	TSMC		https://doi.org/10.1088/1748-0221/17/01/C01044	https://indico.cern.ch/event/820476/contributions/4373045/
TEAM 100kHz	2020	?	?	Berkeley TEAM. 10 um pixels. For EuXFEL? Don’t think so.	https://doi.org/10.1017/S1431927620019753	https://doi.org/10.1017/S1431927618001320
TJMonoPix2	2020	180	TowerJazz		https://doi.org/10.1016/j.nima.2022.166747
EDET DCD	2020	180	UMC	MPG DEPEET + DCD + DMC	https://doi.org/10.1016/j.nima.2019.162544
Timepix2	2020	130			https://doi.org/10.1016/j.radmeas.2019.106230
RD53B	2020	65	TSMC	ATLAS + CMS Itk	https://cds.cern.ch/record/2754251
Direct Electron	2021	?	?	Direct Electron + UW Madison	https://doi.org/10.1017/S1431927621003809
AtlasPix3	2021	180		From I. Peric, for ATLAS?	https://doi.org/10.1109/JSSC.2021.3061760	https://doi.org/10.1016/j.nima.2020.164812
LFMonoPix2	2021	130	Lfoundry	50x150um pitch	https://doi.org/10.1016/j.nima.2022.166747					85
EMPAD-G2	2022	?	?	Cornell. 2nd gen of MM-PAD/EMPAd	https://doi.org/10.1017/S1431927622000174
ALTIROC2	2022	130	TSMC	ATLAS HGTD, for LGAD readout, from SLAC and CNRS/IN2P3	https://doi.org/10.1088/1748-0221/18/01/C01070	https://arxiv.org/abs/2306.08949	https://indico.cern.ch/event/799025/contributions/3486157/
CoRDIA	2022	65	TSMC	DESY XFEL, full duty cycle	https://doi.org/10.1088/1742-6596/2380/1/012093
MALTA2	2023	180	TowerJazz	Targeted at HL-LHC upgrade	https://doi.org/10.1016/j.nima.2023.168787	https://doi.org/10.1016/j.nima.2022.167390	https://doi.org/10.1109/TNS.2022.3170729
MIMOSIS-2	2023	180	TowerJazz	Based on ALPIDE, for CBM MVD (v0 test, v1 full reti, v2 radhard, v3 final)	https://doi.org/10.1088/1748-0221/18/06/C06013	https://doi.org/10.1016/j.nima.2019.162653	https://indico.cern.ch/event/1232761/contributions/5320366/
KITE	2023	110	UMC	For electron microscopy, from Dectris	https://doi.org/10.1016/j.nima.2022.167888
Timespot1	2023	28	TSMC	INFN, 32x32 test matrix, 32um pitch. Referenced in TP4 fund limits paper	https://doi.org/10.1088/1748-0221/18/03/P03034	https://doi.org/10.1016/j.nima.2020.164491
Tangerine	2024	65	TowerJazz		https://doi.org/10.1016/j.nima.2022.167025					?	?	?
Obelix	2025	180	TowerJazz	Will be based on TJ-Monopix2, slides have comparison	https://indico.cern.ch/event/1214423/contributions/5285758/					?	?	?

				`

## Sheet2
Rejected devices:
ARCADIA MAPS, for fiber optic cable digitization
MiMOSA-33 and PEGASUS: Bonn and Strausbourg, for soft XRAYs
Some monolithic detector being made in Liverpool? Snow was helping.					https://doi.org/10.1016/j.nima.2022.167214

Medipix / Timepix Family:
https://doi.org/10.1016/j.radmeas.2020.106271
https://doi.org/10.1016/j.nima.2017.07.029

Percival, AGIPD, Cordia, DSSC:
https://doi.org/10.1088/1748-0221/4/12/P12011

The major detector systems at light sources are:
JUNGFRAU
AGIPD
ePix
CSPAD
CoRDIA